## quote1
Item | Part No | Desc | price | qty | ext. price |  | notes
DAQ System
10 |  | enclosure box | 2800 | 1 | 2800
11 |  | power supply and regulator | 1295 | 1 | 1295
12 |  | hourly rate for building cabinet | 69.75 | 8 | 558
13 |  | conduit entry | 75 | 6 | 450
14 |  | 12V battery | 395 | 2 | 790 |  | we do not need battery backup
15 |  | dessicant | 36 | 1 | 36
16 |  | mounting pedestal | 295 | 1 | 295
1 | CSI_CR310 | Small Data Logger for sampling analog sensors (hygrometers) | 875 | 1 | 875 |  | can we use a CR1000 instead (already have)
2 | CSI-AM16/32 | Multiplexer | 580 | 1 | 580 |  | already have
3 | CSI-19237 | Multiplexer cover | 28 | 1 | 28
4 | CSI-CDM-VW305 | Eight channel vibrating wire CDM | 1845 | 7 | 12915
5 |  | extended temp range on VW CDMs |  |  | 0 |  | range on those we already have?
6 |  | extended warranty |  |  | 0
7 |  | CPI network kit | 26 | 20 | 520
8 |  | 5 port ethernet switch | 195 | 1 | 195
9 |  | ethernet cables | 219 | 1 | 219
17 |  | data logger program | 3895 | 1 | 3895 |  | does this include the software license. If we already have loggernet, would this price be reduced
18 |  | hourly rate for data logger program changes | 158.64 | 4 | 634.56 |  | why the higher rate (compared to enclosure build)
Sensors
19 | VW-4000A-2 | 6" VW gauge | 136 | 24 | 3264
20 |  | cable for 6" gauges | 0.84 | 1920 | 1612.8
21 |  | surface mounting tabs for 6" gauges | 60 | 24 | 1440 |  | what are these?
22 |  | mounting jig for 6" gauges | 110 | 1 | 110
23 |  | cover for 6" gauges | 80 | 24 | 1920
24 | VW-4100A-1 | 2" VW spot weldable strain gauge | 136 | 66 | 8976 |  | can 4150s be used (already have several)
25 |  | cable for 2" gauges | 0.84 | 5280 | 4435.2
26 |  | mounting jig for 2" gauges | 0 | 2 | 0
27 |  | strain gauge tensioning wrench | 14 | 2 | 28
28 |  | cover for 2" gauges | 55 | 66 | 3630 |  | don't these 2" gauge have built in covers?
29 | VW-4911-04 | rebar strain gauges (mounted on 36" #4 sister bars) | 345 | 48 | 16560
30 |  | cable for rebar gauges | 0.92 | 3840 | 3532.8
32 | EMS_Cal | Embedded moisture sensor | 320 | 6 | 1920
33 |  | cable for moisture sensors | 1.21 | 480 | 580.8
Miscellaneous
34 |  | project prep and management | 1269.12 | 1 | 1269.12
35 |  | training program | 4650 | 1 | 4650
36 |  | travel costs for training | 393 | 1 | 393
31 |  | Model 700 spot welder | 3650 | 1 | 3650
Total
|  | Enclosure |  |  | 6224 | 7.404%
|  | DAQ equipment |  |  | 15332 | 18.24%
|  | DAQ software |  |  | 4529.56 | 5.389%
|  | Sensors |  |  | 48009.6 | 57.12%
|  | BDI services |  |  | 6312.12 | 7.509%
|  | Tools |  |  | 3650 | 4.342%
|  | Total Cost |  |  | 84057.28

## option1
Item | Part No | Desc | price | qty | ext. price | total req'd | in stock
DAQ System
10 |  | enclosure box | 2300 | 1 | 2300 |  |  | reduced to 2300 since no area needed for battery bank
11 |  | power supply and regulator | 1295 | 0 | 0 |  |  | replacing with CH200 and BP12 battery
12 |  | hourly rate for building cabinet | 69.75 | 6 | 418.5
13 |  | conduit entry | 75 | 6 | 450
14 |  | 12V battery | 395 | 0 | 0 |  |  | we do not need battery backup
15 |  | dessicant | 36 | 1 | 36
16 |  | mounting pedestal | 295 | 1 | 295
1 | CSI-CR310 | Small Data Logger for sampling analog sensors (hygrometers) | 875 | 0 | 0 |  |  | will use CR1000
2 | CSI-AM16/32 | Multiplexer | 580 | 0 | 0 |  |  | already have, and wont need with CR1000
3 | CSI-19237 | Multiplexer cover | 28 | 0 | 0
new | CSI-NL121 | Ethernet interface for CR1000 | 225 | 1 | 225
4 | CSI-CDM-VW305 | Eight channel vibrating wire CDM | 1845 | 4 | 7380 | 11 | 7
5 |  | extended temp range on VW CDMs |  |  | 0
6 |  | extended warranty |  |  | 0
7 |  | CPI network kit | 26 | 12 | 312
8 |  | 5 port ethernet switch | 195 | 1 | 195
9 |  | ethernet cables | 219 | 1 | 219
17 |  | data logger program | 3895 | 1 | 3895 |  |  | written by dubbs
18 |  | hourly rate for data logger program changes | 158.64 | 4 | 634.56
Sensors
19 | VW-4000A-2 | 6" VW gauge | 136 | 0 | 0 | 6 | 24
20 |  | cable for 6" gauges | 0.84 | 0 | 0
21 |  | surface mounting tabs for 6" gauges | 60 | 10 | 600
22 |  | mounting jig for 6" gauges | 110 | 1 | 110
23 |  | cover for 6" gauges | 80 | 6 | 480
24 | VW-4100A-1 | 2" VW spot weldable strain gauge | 136 | 17 | 2312 | 44 | 30
25 |  | cable for 2" gauges | 0.84 | 1360 | 1142.4
26 |  | mounting jig for 2" gauges | 0 | 2 | 0
27 |  | strain gauge tensioning wrench | 14 | 2 | 28
28 |  | cover for 2" gauges | 55 | 44 | 2420 |  |  | will need these even for the gauges we already have (or spray foam)
29 | VW-4911-04 | rebar strain gauges (mounted on 36" #4 sister bars) | 345 | 40 | 13800 | 36 | 0
30 |  | cable for rebar gauges | 0.92 | 2880 | 2649.6
32 | EMS_Cal | Embedded moisture sensor | 320 | 6 | 1920
33 |  | cable for moisture sensors | 1.21 | 300 | 363
Miscellaneous
34 |  | project prep and management | 1269.12 | 1 | 1269.12
35 |  | training program | 4650 | 1 | 4650
36 |  | travel costs for training | 393 | 1 | 393
31 |  | Model 700 spot welder | 3650 | 1 | 3650
Total
|  | Enclosure |  |  | 3499.5 | 6.711%
|  | DAQ equipment |  |  | 8331 | 15.98%
|  | DAQ software |  |  | 4529.56 | 8.686%
|  | Sensors |  |  | 25825 | 49.52%
|  | BDI services |  |  | 6312.12 | 12.1%
|  | Tools |  |  | 3650 | 6.999%
|  | Total Cost |  |  | 52147.18

## SUMMARY
Item | Part No | Desc | To purchase | Required
DAQ System
10 |  | enclosure box | 1
11 |  | power supply and regulator | 0
12 |  | hourly rate for building cabinet | 6
13 |  | conduit entry | 6
14 |  | 12V battery | 0
15 |  | dessicant | 1
16 |  | mounting pedestal | 1
1 | CSI-CR310 | Small Data Logger for sampling analog sensors (hygrometers) | 0
2 | CSI-AM16/32 | Multiplexer | 0
3 | CSI-19237 | Multiplexer cover | 0
| CR1000 | Ethernet interface for CR1000 | 0 | 1
new | CSI-NL121 | Ethernet interface for CR1000 | 1 | 1
4 | CSI-CDM-VW305 | Eight channel vibrating wire CDM | 4 | 11
5 |  | extended temp range on VW CDMs | 0
6 |  | extended warranty | 0
7 |  | CPI network kit | 12 | 11
8 |  | 5 port ethernet switch | 1
9 |  | ethernet cables | 1
17 |  | data logger program | 1
18 |  | hourly rate for data logger program changes | 4
Sensors
19 | VW-4000A-2 | 6" VW gauge | 0 | 6
20 |  | cable for 6" gauges | 0
21 |  | surface mounting tabs for 6" gauges | 10 | 6
22 |  | mounting jig for 6" gauges | 1
23 |  | cover for 6" gauges | 6 | 6
24 | VW-4100A-1 | 2" VW spot weldable strain gauge | 17 | 44
25 |  | cable for 2" gauges | 1360
26 |  | mounting jig for 2" gauges | 2
27 |  | strain gauge tensioning wrench | 2
28 |  | cover for 2" gauges | 44 | 44
29 | VW-4911-04 | rebar strain gauges (mounted on 36" #4 sister bars) | 40 | 36
30 |  | cable for rebar gauges | 2880
32 | EMS_Cal | Embedded moisture sensor | 6 | 6
33 |  | cable for moisture sensors | 300
Miscellaneous
34 |  | project prep and management | 1
35 |  | training program | 1
36 |  | travel costs for training | 1
31 |  | Model 700 spot welder | 1