## SUMMARY
Item | Part No | Desc | To purchase | Required
DAQ System
10 |  | enclosure box | 1
11 |  | power supply and regulator | 0
12 |  | hourly rate for building cabinet | 8
13 |  | conduit entry | 6
14 |  | 12V battery | 0
15 |  | dessicant | 1
16 |  | mounting pedestal | 1
1 | CSI-CR310 | Small Data Logger for sampling analog sensors (hygrometers) | 0
2 | CSI-AM16/32 | Multiplexer | 0
3 | CSI-19237 | Multiplexer cover | 0
| CR1000 | CR1000 | 0 | 1
new | CSI-NL121 | Ethernet interface for CR1000 | 1 | 1
4 | CSI-CDM-VW305 | Eight channel vibrating wire CDM | 4 | 11
5 |  | extended temp range on VW CDMs | 0
6 |  | extended warranty | 0
7 |  | CPI network kit | 12 | 11
8 |  | 5 port ethernet switch | 1
9 |  | ethernet cables | 1
17 |  | data logger program | 1
18 |  | hourly rate for data logger program changes | 4
Sensors
19 | VW-4000A-2 | 6" VW gauge | 0 | 6
20 |  | cable for 6" gauges | 0
21 |  | surface mounting tabs for 6" gauges | 10 | 6
22 |  | mounting jig for 6" gauges | 1
23 |  | cover for 6" gauges | 6 | 6
24 | VW-4100A-1 | 2" VW spot weldable strain gauge | 17 | 44
25 |  | cable for 2" gauges | 1360
26 |  | mounting jig for 2" gauges | 2
27 |  | strain gauge tensioning wrench | 2
28 |  | cover for 2" gauges | 44 | 44
29 | VW-4911-04 | rebar strain gauges (mounted on 36" #4 sister bars) | 40 | 36
30 |  | cable for rebar gauges | 2880
32 | EMS_Cal | Embedded moisture sensor | 6 | 6
33 |  | cable for moisture sensors | 300
Miscellaneous
34 |  | project prep and management | 1
35 |  | training program | 1
36 |  | travel costs for training | 1
31 |  | Model 700 spot welder | 1